|  |  |
| --- | --- |
| SHIP TO: | DATE SHIPPED: |
|  |  |
| SHIPPED VIA: |
|  |
| NUMBER OF PACKAGES: |
| ULTIMATE DESTINATION: | 8 BOXES |
|  |
| BILL OF LADING NUMBERS: |
| CUSTOMER: |  |
|  |
| GROSS WEIGHT: |
| 103,060 LBS.  |
| PART NUMBER | NOMENCLATURE | QTY. SHIPPED | UNIT OF MEASURE |
| THESE COMMODITIES, TECHNOLOGY OR SOFTWARE WERE EXPORTED FROM THE UNITED STATES IN ACCORDANCE WITH THE EXPORT ADMINISTRATION REGULATIONS. DIVERSION CONTRARY TO U.S. LAW PROHIBITED.MADE IN U.S.A. FOR EXPORTTAURUS 60 GENERATOR SET (ENCLOSED) | 1 | EA |
| **MARKS:**  |  |  |

### BOX 1

2-4B141 TAURUS 60 GENERATOR SET 1 EA

**BOX 2**

1308818-1800 DRIVE,VAR FREQ,200 HP,380-480 1 ea

1308818-700 DRIVE,VAR FREQ,15 HP,380-480 1 ea

**BOX 3**

1114717-4B141 CONFIG,LF,FILTRATION,COARSE (1068954-4B141 Filter) 1 ea

1114560-4B141 CONFIG,LF,BOOST (1063321-4B141 Pump/Motor Assy) 1 ea

**BOX 4**

1123223-4B141 CONFIG,TPAS,VENT,GEN EXH,ELBOW 1 ea

 **Consists of:**

 1 ea 1107474-100 DAMPER,VENT,MANUAL,42X42

1123271-4B141 CONFIG,TPAS,VENT,ENCL EXH 1 ea

 **Consists of:**

 1 ea 1105588-100 SCREEN,ENCLOSURE VENTILATION

**box 5**

1522263-4B141 CONFIG,LO,VENT,OFF SKID 1 ea

 **Consists of:**

1 ea 1121860-4A951 KIT,LS,HARDWARE,ARRESTR,DEMIST

 **Consists of :**

 1 ea 1071951-2 BRACKET,DEMISTER

 1 ea 42-16112-10 BRACKET,DEMISTER,L/O

**box 6**

1342582-4B141 KASL,CONFIG ASSY, KPID C40-T60 1 ea

 **Consists of:**

1 ea 1101256-101 BEAM ASSY,TROLLEY,1 TON

 **Consists of** **:**

 1 ea 1052906-201 BEAM ASSY

**box 7**

1342582-4B141 KASL,CONFIG ASSY, KPID C40-T60 1 ea

 **Consists of:**

 1 ea FT21010-100 ARM GENERATOR ROTATING

 1 ea FT21607-109 TOOL,LIFT,ENGINE,SGL-PT,C50

 1 ea FT27624-101 TOOL,LIFT,DFSR,EXH COLLECTOR

 1 ea 1530968-300 HOIST,5 TON

 1 ea FT20065-101 TOOL,ALIGNMENT/MEASUREMENT

 1 ea 1531044-100 BEAM ASSY,TROLLEY,EXTENSION

1 ea 1101256-101 BEAM ASSY,TROLLEY,1 TON

 **Consists of** **:**

 1 ea 1530965-300 HOIST,1 TON (S/n:

**box 8**

1759560-201 MS-HORN,NEC,ATEX BRACKET,OG 1 ea

1759560-501 MS-STROBE,ATEX,CS BRACKET,OG 1 ea

1110084-300 COUPLING,SHEAR 1 ea

1047445-3 BRACKET,HOOD,SUN 1 ea

1346866-4B141 CONFIG,TPAS,MNTRNG,FAN 1 ea

 **Consists of:**

 1 ea 1107159-2 TRANSDUCER,CURRENT

**box 8 (continued)**

1342582-4B141 KASL,CONFIG ASSY, KPID C40-T60 1 ea

 **Consists of:**

 1 ea 1089171-108 COMPUTER,LAPTOP,CUSTOMER

1072011-100 KIT,LS,COUPLING COVER 1ea

 **Consists of:**

1027522-101 COVER,DRIVESHAFT 2 ea

1027523-101 COVER,DRIVESHAFT 2 ea

234304-2 WASHER,FLAT,0.438 IN,1.50 OD 12 ea

913846C1 WASHER,FLAT,0.75 IN,1.75 OD 2 ea

H06B020C011-316 SET,HDWR,0.375-16X1.25 IN,B8M 8 ea

 **Consists of:**

 1 ea 1010501 WASHER,FLAT,0.375 IN,1.00 OD

 1 ea 962903C1 BOLT,HEX,0.375-16 X 1.25 IN

 1 ea 964677C1 LOCKWASHER,SPLIT,0.375 IN,316

H06B020C121-316 SET,HDWR,0.375-16X1.25 IN,B8M 8 ea

 **Consists of:**

 2 ea 1010501 WASHER,FLAT,0.375 IN,1.00 OD

 1 ea 962903C1 BOLT,HEX,0.375-16 X 1.25 IN

 1 ea 962904C1 NUT,HEX,0.375-16UNC-2B,8M,316

 1 ea 964677C1 LOCKWASHER,SPLIT,0.375 IN,316

H06B024C101-316 SET,HDWR,0.375-16X1.5 IN,B8M 6 ea

 **Consists of:**

 1 ea 962904C1 NUT,HEX,0.375-16UNC-2B,8M,316

 1 ea 964677C1 LOCKWASHER,SPLIT,0.375 IN,316

 1 ea 970874C1 BOLT,HEX,0.375-16 X 1.5 IN,B8M

**box 8 (continued)**

1113781-4B141 CONFIG,TAI/EXH,EXHAUST 1 ea

 **Consists of:**

 1 ea 1116547-301 KIT,HDWR,3" BOLT & GSKT,45"

 **Consists of :**

 80 ea 1010476 WASHER,FLAT,0.5 IN,1.063 OD

 1 ea 80-30549-100 LUBRICANT,GEL,ANTI-SEIZE

 40 ea 964686C1 LOCKWASHER,SPLIT,0.50 IN,316

 40 ea 964700C1 BOLT,HEX,0.50-13 X 3.0 IN,B8M

 40 ea 964684C1 NUT,HEX,0.50-13UNC-2B,8M,316

 1 ea 1283807-900 GASKET,45.25 ID,53.00 OD,0.5

 2 ea 1116547-201 KIT,HDWR,2 1/2" BOLT & GSKT

 **Consists of :**

 40 ea 964686C1 LOCKWASHER,SPLIT,0.50 IN,316

 80 ea 1010476 WASHER,FLAT,0.5 IN,1.063 OD

 40 ea 964684C1 NUT,HEX,0.50-13UNC-2B,8M,316

 1 ea 80-30549-100 LUBRICANT,GEL,ANTI-SEIZE

 40 ea 964683C1 BOLT,HEX,0.50-13 X 2.50 IN,B8M

 1 ea 1283807-900 GASKET,45.25 ID,53.00 OD,0.5

1057773-100 KIT,LS,HARDWARE,OL,OC 1 ea

 **Consists of:**

 8 ea 1300391-0405 STUD,0.50-13 X 3.00 IN,CONT

 16 ea 1015378 NUT,HEAVY HEX,0.50-13UNC-2B,8M

 2 ea 1028620 COUPLING,QUICK DISCONNECT

 2 ea 1028621 CAP,PROTECTIVE,0.75 IN

 2 ea 956709C1 REDUCER,1.0X0.75

 2 ea 1017890 GASKET,SPIRAL,1.0,CL150,RF,304

 2 ea 958003C1 FLANGE,PIPE,1.0,STD,CL150

**box 8 (continued)**

1123731-4B141 CONFIG,TAI/EXH,INLET,BARRIER 1 ea

 **Consists of:**

 10 ea AXG-1000-402 KIT,HDWR,FLG,INLET,60X72

 **Consists of :**

 48 ea 962903C1 BOLT,HEX,0.375-16 X 1.25 IN

 48 ea 962904C1 NUT,HEX,0.375-16UNC-2B,8M,316

 48 ea 964677C1 LOCKWASHER,SPLIT,0.375 IN,316

 96 ea 1010500 WASHER,FLAT,0.375 IN,0.813 OD

 2 ea 1057827 SEALANT,GASKET,BUTYL RUBBER

 1 ea 70-30171-1 GUN,CAULKING

 2 ea 1042861-211 KIT,HDWR,AIR FILTER,SS

 **Consists of :**

 5 ea H10B040C121-316 SET,HDWR,0.625-11X2.50 IN,B8M

 **Consists of:**

 2 ea 1010477 WASHER,FLAT,0.625 IN,1.3125 OD

 1 ea 964688C1 BOLT,HEX,0.625-11 X 2.50 IN

 1 ea 964691C1 NUT,HEX,0.625-11UNC-2B,8M,316

 1 ea 964693C1 LOCKWASHER,SPLIT,0.625 IN,

1062989-4B141 KIT,LS,GAS FUEL,FILTER 1 ea

 **Consists of:**

 2 ea 1017905 GASKET,SPIRAL,2.0,CL300,RF,304

 1 ea 1060817-40 KIT,ELEMENT,CARTRIDGE,PLEATED

 16 ea 1300391-0509 STUD,0.625-11 X 4.00 IN,CONT

 32 ea 1021504 NUT,HEAVY,5/8-11UNC,SS316,GR 8

1344905-4B141 CONFIG,C-ELEC,LPPID INTERFACE 1 ea

 **Consists of:**

 1 ea 183950-204 KIT,LS,PRINTER,240V,50HZ

 **Consists of** **:**

 1 ea 170555-3 PRINTER,DOT MATRIX

 1 ea 1083194 CABLE,PRINTER,20 FT

 1 ea 1610349 STAND,PRINTER

**box 8 (continued)**

1123289-4B141 CONFIG,TPAS,VENT,BARRIER 1 ea

 **Consists of:**

 2 ea 1111267-400 KIT,HDWR,VENT

 **Consists of :**

 10 ea H06B028C121-316 SET,HDWR,0.375-16X1.75 IN,B8M

 **Consists of:**

 2 ea 1010501 WASHER,FLAT,0.375 IN,1.00 OD

 1 ea 962904C1 NUT,HEX,0.375-16UNC-2B,8M,316

 1 ea 964677C1 LOCKWASHER,SPLIT,0.375 IN,316

 1 ea 964679C1 BOLT,HEX,0.375-16 X 1.75 IN

 1 ea 70-30171-1 GUN,CAULKING

 1 ea 1057827 SEALANT,GASKET,BUTYL RUBBER

 10 ea H06B020C121-316 SET,HDWR,0.375-16X1.25 IN,B8M

 **Consists of:**

 2 ea 1010501 WASHER,FLAT,0.375 IN,1.00 OD

 1 ea 962903C1 BOLT,HEX,0.375-16 X 1.25 IN

 1 ea 962904C1 NUT,HEX,0.375-16UNC-2B,8M,316

 1 ea 964677C1 LOCKWASHER,SPLIT,0.375 IN,316

 14 ea 1111267-100 KIT,HDWR,VENT

 **Consists of :**

 22 ea H06B020C121-316 SET,HDWR,0.375-16X1.25 IN,B8M

 **Consists of:**

 2 ea 1010501 WASHER,FLAT,0.375 IN,1.00 OD

 1 ea 962903C1 BOLT,HEX,0.375-16 X 1.25 IN

 1 ea 962904C1 NUT,HEX,0.375-16UNC-2B,8M,316

 1 ea 964677C1 LOCKWASHER,SPLIT,0.375 IN,316

 1 ea 70-30171-1 GUN,CAULKING

 1 ea 1057827 SEALANT,GASKET,BUTYL RUBBER

**box 8 (continued)**

1522263-4B141 CONFIG,LO,VENT,OFF SKID 1 ea

 **Consists of:**

 1 ea 1065667-4 ARRESTOR,FLAME (S/N: 14228-19-01-03)

 1 ea 1121860-4A951 KIT,LS,HARDWARE,ARRESTR,DEMIST

 **Consists of :**

 1 ea 1017899 GASKET,SPIRAL,6.0,CL150,RF,304

 2 ea 1057216 U-BOLT,0.50-13UNC-2A,15.75 IN

 1 ea 1121390-600 PIPE ASSY,LO,VENT, STRAIGHT

 2 ea 915410C1 JOINT,PIPE,STRAIGHT,4.0

 8 ea 964684C1 NUT,HEX,0.50-13UNC-2B,8M,316

 16 ea 1300391-0509 STUD,W/NUT(S),0.625-11 X 4.0

 32 ea 1021504 NUT,HEAVY,5/8-11UNC,SS316,GR 8

 1 ea 1121389-600 PIPE ASSY,LO,VENT

 2 ea 1017897 GASKET,SPIRAL,4.0,CL150,RF,304

 8 ea 1010476 WASHER,FLAT,0.5 IN,1.063 OD

 1 ea 1121388-600 PIPE ASSY,LO,VENT

 12 ea H06B020C121-316 SET,HDWR,0.375-16X1.25 IN,B8M

 **Consists of:**

 2 ea 1010501 WASHER,FLAT,0.375 IN,1.00 OD

 1 ea 962903C1 BOLT,HEX,0.375-16 X 1.25 IN

 1 ea 962904C1 NUT,HEX,0.375-16UNC-2B,8M,316

 1 ea 964677C1 LOCKWASHER,SPLIT,0.375 IN,316

 5 ea H06B036C121-316 SET,HDWR,0.375-16X2.25 IN,B8M

 **Consists of:**

 1 ea 1010588 BOLT,HEX,0.375-16 X 2.25 IN

 1 ea 962904C1 NUT,HEX,0.375-16UNC-2B,8M,316

 1 ea 964677C1 LOCKWASHER,SPLIT,0.375 IN,316

 2 ea 1010501 WASHER,FLAT,0.375 IN,1.00 OD

 8 ea H12S064C200-316 STUD,W/NUT(S),0.75-10 X 4.0 IN

 **Consists of:**

 2 ea 1438914 NUT,HEAVY HEX,0.75-10UNC-2B,8M

 1 ea 1300391-0609 STUD,0.75-10 X 4.00 IN,CONT

**box 8 (continued)**

1342591-4B141 ASL,CONFIG ASSY C40-T60 1 ea

 **Consists of:**

 1 ea 1041313-101 KIT,LS,FUSES

 **Consists of** **:**

 2 ea 1043265-3 FUSE,2.0 A,600 V

 1 ea 1043265-4 FUSE,5.0 A,600 V

 8 ea 1043265-5 FUSE,10 A,600 V

 1 ea 1043265-6 FUSE,15 A,600 V

 1 ea 1043265-7 FUSE,20 A,600 V

 1 ea 1102833-100 KIT,INSTL,LABELS

 **Consists of** **:**

 1 ea 1013240-19 LABEL,ENGINE EXHAUST,COLL,AND

 1 ea 1013240-22 LABEL,ENG,AIR INL,DUCT,DRAIN,E

 1 ea 1096739-1 LABEL,CV1110

 1 ea 1096739-10 LABEL,PDS1500

 1 ea 1096739-100 LABEL,F1440

 1 ea 1096739-101 LABEL,F1710

 1 ea 1096739-103 LABEL,F1720

 1 ea 1096739-1042 LABEL, F6400

 1 ea 1096739-106 LABEL,FO1120

 1 ea 1096739-1077 LABEL,HV6400

 1 ea 1096739-1089 LABEL,PCV6410

 1 ea 1096739-1116 LABEL,PSV6410

 1 ea 1096739-1117 LABEL,PT6400

 1 ea 1096739-1119 LABEL,SA6130

 1 ea 1096739-118 LABEL,FO1171

 1 ea 1096739-13 LABEL,PT1120

 1 ea 1096739-130 LABEL,HV1120

 1 ea 1096739-14 LABEL,PT1170

 1 ea 1096739-156 LABEL,SV1420

 1 ea 1096739-157 LABEL,SV1440

**box 8 (continued)**

 1 ea 1096739-160 LABEL,SV1710

 1 ea 1096739-161 LABEL,SV1720

 1 ea 1096739-162 LABEL,TE1110

 1 ea 1096739-207 LABEL,F2106

 1 ea 1096739-219 LABEL,HV2155

 1 ea 1096739-230 LABEL,SV2121

 1 ea 1096739-237 LABEL,ASY2200

 1 ea 1096739-242 LABEL,AV2121

 1 ea 1096739-252 LABEL,CV2150

 1 ea 1096739-253 LABEL,CV2155

 1 ea 1096739-254 LABEL,CV2157

 1 ea 1096739-264 LABEL,F2100

 1 ea 1096739-266 LABEL,F2107

 1 ea 1096739-268 LABEL,F2200

 1 ea 1096739-313 LABEL,HV2220

 1 ea 1096739-329 LABEL,PCV2155

 1 ea 1096739-331 LABEL,PDT2100

 1 ea 1096739-335 LABEL,PS2000

 1 ea 1096739-347 LABEL,SV2000

 1 ea 1096739-351 LABEL,SV2155

 1 ea 1096739-386 LABEL,ASY3150

 1 ea 1096739-388 LABEL,CV3110

 1 ea 1096739-390 LABEL,CV3170

 1 ea 1096739-391 LABEL,F3101

 1 ea 1096739-4 LABEL,FO1500

 1 ea 1096739-409 LABEL,HV3246

 1 ea 1096739-415 LABEL,M3150

 1 ea 1096739-416 LABEL,M3170

 1 ea 1096739-422 LABEL,PS3170

 1 ea 1096739-423 LABEL,PS3200

**box 8 (continued)**

 1 ea 1096739-424 LABEL,PT3200

 1 ea 1096739-427 LABEL,TE3200

 1 ea 1096739-429 LABEL,TE3520

 1 ea 1096739-435 LABEL,ASY3200

 1 ea 1096739-442 LABEL,CV3150

 1 ea 1096739-446 LABEL,CV3200

 1 ea 1096739-478 LABEL,FO3151

 1 ea 1096739-479 LABEL,FO3170

 1 ea 1096739-480 LABEL,FO3171

 1 ea 1096739-482 LABEL,FO3420

 1 ea 1096739-484 LABEL,FO3430

 1 ea 1096739-490 LABEL,HV3100

 1 ea 1096739-491 LABEL,HV3101

 1 ea 1096739-492 LABEL,HV3105

 1 ea 1096739-494 LABEL,HV3200

 1 ea 1096739-495 LABEL,HV3240

 1 ea 1096739-499 LABEL,HV3321

 1 ea 1096739-502 LABEL,LI3100

 1 ea 1096739-504 LABEL,LS3100

 1 ea 1096739-512 LABEL,P3110

 1 ea 1096739-515 LABEL,P3170

 1 ea 1096739-528 LABEL,PS3150

 1 ea 1096739-538 LABEL,PT3100

 1 ea 1096739-539 LABEL,PT3240

 2 ea 1096739-545 LABEL,SG3510

 2 ea 1096739-546 LABEL,SG3520

 2 ea 1096739-547 LABEL,SG3530

 2 ea 1096739-555 LABEL,SG3621

 2 ea 1096739-556 LABEL,SG3630

 1 ea 1096739-563 LABEL,TE3100

**box 8 (continued)**

 1 ea 1096739-567 LABEL,TI3221

 1 ea 1096739-569 LABEL,TW3200

 1 ea 1096739-570 LABEL,TW3201

 1 ea 1096739-571 LABEL,TW3221

 1 ea 1096739-573 LABEL,TW3520

 1 ea 1096739-663 LABEL,PT3100

 1 ea 1096739-8 LABEL,PCV1030

 1 ea 1096739-82 LABEL,PT1121

 1 ea 1096739-9 LABEL,PCV1031

 1 ea 1096739-93 LABEL,AV1721

 1 ea 1096739-94 LABEL,CV1440

 2 ea 1069625-100 KIT,SHIM,GEN,LOOSE SHIP

 **Consists of** **:**

 16 ea 1062952-1 SHIM,0.005 IN

 16 ea 1062952-2 SHIM,0.010 IN

 16 ea 1062952-3 SHIM,0.03 IN

 12 ea 1062952-4 SHIM,0.06 IN

 12 ea 1062952-5 SHIM,0.134 IN

 4 ea 1062952-6 SHIM,0.25 IN

 4 ea 1089811-1 RESTRAINT,LADDER

 1 ea 1044461-102 KIT,MAINT,FUSE,2AMP-20AMP

 **Consists of** **:**

 4 ea 1043265-3 FUSE,2.0 A,600 V

 4 ea 1043265-4 FUSE,5.0 A,600 V

 8 ea 1043265-5 FUSE,10 A,600 V

 4 ea 1043265-6 FUSE,15 A,600 V

 4 ea 1043265-7 FUSE,20 A,600 V

 3 ea 4B141-1010944-5 TRANSFORMER,DF CURRENT

 1 ea 190377-905 MOTOR STARTER,1.5 HP,120 VDC